Lab methods paragraph

CHEAR Project: 2017-1762

Lab Hub: Minnesota CHEAR Exposure Assessment Hub

Panel: Inflammatory markers in saliva

Description of lab methods:

IL-8 and IL-10 were measured in saliva with commercial Protein Simple SimplePlex assays, on the Protein Simple Ella platform. CRP was measured in saliva by commercial ELISA (Salimetrics, Item No. 1-3302), on a Beckman Coulter PARADIGM Detection Platform.

Table of study-wide LODs:

| Full Analyte Name | Analyte Code | LOD | Units |
| --- | --- | --- | --- |
| C-reactive Protein | CRP | 100 | pg/mL |
| Interleukin 8 | IL8 | 0.16 | pg/mL |
| Interleukin 10 | IL10 | 0.28 | pg/mL |